

**Request For Quotation**

**Project Location:**

Abraham A. Ribicoff Federal Building

450 Main Street

Hartford, CT 06103

**Advertised Procurement:**

Responses Due by COB 6/25/21.

**Scope of Work:**

* The contractor shall provide all labor, equipment, tools, accessories, and materials to properly remove, install and dispose 210 SY of Bentley broadloom cushioned back carpet or equivalent in chambers 262 of the United States District Court.
* The contractor will be responsible for moving various furniture within this chamber for the removal and installation of carpet.
* The contractor shall be responsible for the removal and replacement of 500 Linear feet of cove base.
* The contractor shall coordinate all activities with the USDC Facilities Technician.
* Clean up of the job site shall be the responsibility of the contractor and shall occur at the end of each workday.
* Replaced carpet, remnants, waste and/or byproducts generated by the requirements outlined in this SOW shall be removed and disposed of by contractor off the premise of government property and in compliance with state and local laws.
* Site visit is recommended. Please contact Jay Cafferty at Jay\_cafferty@ctd.uscourts.gov for scheduling visit.